# Permit-to-Work for Potentially Hazardous Areas

# (e.g. TC suites, Radioactive areas)

| Hazardous Area Permit Number SLS/date/initials |
| --- |
| Dept/College LIFE SCIENCES | Exact location |
| Description of work |
| TO BE COMPLETED BY DEPT/SCHOOL REPRESENTATIVE Precautions taken by Dept/School |
| All hazardous materials removed/safely contained? |  |
| Washing down, cleaning or decontamination done? |  |
| Staff advised of unavailability? |  |
| Other precautions (specify) (Include mobile telephone number for emergency contact) |
| I certify that as far as is reasonably practicable the area has been made safe for the work shown for the period specified. |
| Name, Signature, Position (on behalf of the University Dept/School) | Date and time |
| TO BE COMPLETED BY E&B/CONTRACTOR REPRESENTATIVE Safety precautions to be followed and necessary PPE additional to protective clothing |
| Temporary edge protection to be installed to prevent falls |  |
| Body harness and safety lanyard to be worn |  |
| Safety glasses/labcoat/gloves/goggles/face shield |  |
| Respiratory Protective Equipment (specify type) |  |
| Other precautions (specify) |
| Services isolated (specify) |
| From (time and date) | To (time and date) |
| I understand the precautions necessary and the time limits for this permit |
| Name, Signature , Designation (on behalf of Estates and Buildings or Contractor) |
| Completion*/cancellation* of Permit (*delete as appropriate) |
| Name, Signature, Designation (on behalf of Estates and Buildings or Contractor) Name, Signature, Position (on behalf of the University Dept/School) | Date and time Date and time |