# Permit to Work - Hot Work

| Hot Work Permit Number |
| --- |
| Issuing Department | Cross reference to any overlapping permits |
| Location of job |
| Description of job |
| Risks as shown by risk assessment |
| Detail any interruption of fire alarm or detection systems needed and compensatory precautions |
| (give Alarm/Detection System Isolation Permit number) NOTE – This permit cannot be completed unless the Alarm system has been re-instated and that permit completed. |
| Control measures checklist | Yes | No | Who is responsible |
| Area has been cleared of combustible materials and swept |  |  |  |
| Walls, floors, remaining fittings and gulleys suitable protected |  |  |  |
| Openings in walls, floors, ceilings, grids etc. protected/covered |  |  |  |
| Suitable fire extinguishers, sand, fire blanket, water supply to hand |  |  |  |
| Means of sounding fire alarm to hand if no break glass point |  |  |  |
| Warning /exclusion notices posted at suitable locations |  |  |  |
| Operatives instructed in means of escape and in raising fire alarm |  |  |  |
| Safety checks made during work and one hour after completion |  |  |  |
| Welding gas cylinders secured upright and removed after each use |  |  |  |
| Testing for oxygen/carbon dioxide/carbon monoxide needed |  |  |  |
| Any other precautions necessary (detail) |  |  |  |
| Issues by (on behalf of the University) (name and signature) |
| Name of Contractor |
| Permit valid from (time) | to (time) | Date |
| Signatures |
| Contractor’s representative (confirming specified precautions taken) | Each contractor’s employee (that they have read, understood and accept the permit) |
| Signature of University supervisor on completion *or suspension (*delete as appropriate) | Date and time |