### School of Life Sciences Safety Clearance Certificate

### for Equipment used in Tissue Culture Facilities

The following form is as a permit to work used to certify that a piece of equipment has been cleaned, decontaminated and made safe, according to the manufacturer's instructions and as required by the service provider, to allow the necessary servicing, repair, testing and/or calibration.

| Service Provider: | Crowthorne |
| --- | --- |

Equipment Details

| Equipment: | Microbiological safety cabinet |
| --- | --- |
| Manufacturer: |  |
| Model: |  |
| Serial Number: |  |
| Location: | Bldg: |  | Floor: |  | Rm No: |  |
| Indicate Containment Level of work carried out in this cabinet since its immediately previous bio-decontamination: 1 2 3 (circle as appropriate) |

# Hazardous Materials used in conjunction with this Equipment

e.g.  toxic/very toxic chemicals; radioactive substances; pathogens classified by ACDP as Hazard Group 2 or 3; micro-organisms considered to be equivalent to ACDP Hazard group 2 or 3, including those which have been genetically modified; human blood or tissue (screened or unscreened); cell lines of human or primate origin that are not fully authenticated or characterised; cell lines with endogenous pathogens or those that have been deliberately infected (e.g. EBV immortalised cell lines); primary cells from blood, lymphoid or neural tissue of human or simian origin; viral vectors capable of infecting human cells, whether replication competent or defective. If none, please record “none” in the box below.

Methods of Cleaning and/or Decontamination

VHP bio-decontamination* - in accordance with the Bioquell Clarus S instruction manual. Carried out by trained personnel only and according to SOP. Surface Decontamination - 70% Ethanol

*Delete if not applicable, i.e. for cabinets used for only CL1 work.

Note! For MSCs: ensure the surfaces below the work tray are also decontaminated/cleaned.

If the equipment has not been bio-decontaminated: (1) Why not?

**Delete if not applicable			  (2) Can internal parts be accessed safely?

I certify that this equipment has been made safe and can be released for service, repair and calibration. The service provider has been informed of any particular hazards relating to the decontaminated equipment.

| Name (Print): |  |  | Engineer's Name: |  |
| --- | --- | --- | --- | --- |
| Signature: |  |  | Signature: |  |
| Position: |  |  | Date: |  |
| Tel: |  |  |  |  |
| Date: |  |  |  |  |

# Text boxes

Equipment used for CL1 work only**

Yes**