### School of Life Sciences Safety Clearance Certificate

### for Chemical Fume Hoods

| Service Provider: |  |
| --- | --- |

Equipment Details

| Equipment: | Chemical Fume Hood |
| --- | --- |
| Manufacturer: |  |
| Model: |  |
| Serial Number: |  |
| Location: | Bldg: |  | Floor: |  | Rm No: |  |

I certify that this equipment has been made safe for servicing, repair, testing and/or calibration in accordance with SOP 93, i.e.

• no experiments running;

• all equipment within the hood switched off;

• all containers, reagent and waste, securely capped/sealed;

• drip cups flushed;

• all sharps removed or safely contained;

• front edge of work surface cleared to a depth of about 20cm and decontaminated.

| Name (Print): |  |
| --- | --- |
| Signature: |  |
| Date: |  |

I am satisfied that this equipment has been made safe in accordance with SOP 93.

| Engineer's Name: |  |
| --- | --- |
| Signature: |  |
| Date: |  |