RADIOACTIVE CONTAMINATION MONITORING RECORD

| Date | Your Name | Isotope | Location/Item | Back-ground cps (bg) | Before use | After use | Comments and/or details of decontamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | cps above bg | cps above bg |  |
|  |  |  |  |  | Loc/Item | Self | Loc/Item | Self |  |
| 1/4/06 | Example | 32P | Workstation 1 | 5 | 0 | 0 | 100 | 20 | Contamination in top right corner of spill tray. Removed with Count-Off. cps down to background. 20cps spot on lab coat sleeve. Bagged and stored until decayed down to background. |

Contamination detected using contamination monitors should be removed until cps=background cps ( Contamination detected by wipe testing should be removed until cps<twice background ( When contamination cannot be removed consult the RPS ( If appropriate, record cps achieved after decontamination in the rightmost column ( When monitoring Self: before use check lab coat; after use check lab coat, hands/gloves and soles of shoes ( Note: routinely monitoring Self for 3H contamination is not reasonably practicable and, therefore, not required (