RADIOACTIVE CONTAMINATION MONITORING RECORD FOR A SINGLE ITEM

| Date | Your Name | Isotope | Background cps | Before use | After use | Comments and/or details of decontamination |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | cps above background | cps above background |  |
| 1/4/06 | Example for a rad disposal sink | 32P | 5 | 0 | 100 | 4cm2 area on draining board. Removed with Count-Off. Got cps down to background. |

Contamination detected using contamination monitors should be removed until cps=background cps ( Contamination detected by wipe testing should be removed until cps<twice background ( When contamination cannot be removed consult the RPS ( If appropriate, record cps achieved after decontamination in the rightmost column (