UNIVERSITY OF DUNDEE

# PERMIT-TO-WORK CERTIFICATE

### Sinks and Drainage Systems Used for the Disposal of Liquid Radioactive Waste

Laboratory sinks are designated for the disposal of liquid radioactive waste (Figs 2 & 3). The main units/buildings where such sinks are located are as follows: -

Old Medical School/Carnelley Building Complex

MSI, WTB & JBC Complex

Biological Sciences

Dental Surgery

Jute Shed (Electronic Engineering & Physics)

Forensic Medicine

The local Radiation Protection Supervisor’s name and contact telephone number will be displayed in the laboratory (for example see Fig 1).  Alternatively, the Radiation Protection Adviser or Technician can be contacted at Safety Services (Extensions 4369, 5030)

Fig 1

|  | LOW-LEVEL RADIOACTIVE AREA |
| --- | --- |
| Person responsible: ______________________________ Internal Tel: ____________________ Home Tel: _____________________ | Radiation Protection Supervisor: ______________________________ Internal Tel: ____________________ Home Tel: _____________________ |

The designated sinks are posted with a yellow/black plastic notice and the drainage system for them is labelled with yellow/black warning notices.  These two notices are illustrated below: -

Fig 2

|  | SINK FOR DISPOSAL OF RADIOACTIVE AQUEOUS WASTE |
| --- | --- |
| AUTHORISED ACTIVITIES PER MONTH |
| NUCLIDE | MBq |
| If these limits need changing it should be done in consultation with the RPS |

Fig 3

|  | Permission must be obtained before Work is commenced on this service |
| --- | --- |

BEFORE CARRYING OUT WORK ON ONE OF THESE SINKS OR THEIR DRAINAGE SYSTEMS PLUMBERS SHOULD COMPLETE PART A.  THE LOCAL RADIATION SUPERVISOR OR THE UNIVERSITY RADIATION PROTECTION ADVISER/TECHNICIAN AT SAFETY SERVICES CAN THEN MONITOR THE SYSTEM AND COMPLETE PART B.

PART A:

The designated radioactive sink in:

Department/Building  _______________________		Laboratory _________________

Requires maintenance at ___________ hours on ____________________

Access will be required to:

The sink

The pipework immediately below the sink

The pipework down to Level __________

Signed: ____________________________				Date: ________________

----------------------------------------------------------------------------------------------------------------

PART B:

The appropriate sections of the sink drainage systems have been monitored.

The work can proceed without supervision

The work should proceed only under my supervision

Unit Radiation Protection	                                 University Radiation Protection Adviser

Supervisor

Signature: _____________________	          Signature: ________________________

Date:         _____________________	           Date:         ________________________